|  |  |
| --- | --- |
| Boule Diagnostics AB | Instrument installed by |
| Att. Customer Care | Distributor name: |
| Domnarvsgatan 4 | Full name: |
| SE-163 53 Spånga; Sweden | Signature: |
|  | Date: |

# Please read the *Installation Chapter* in the instrument *User Manual* carefully. Follow the instructions, complete the form and submit at <https://boule.com/service-reports/>.

**Ensure that all fields in the form below are completed! Write “N/A” in reagent fields that are not applicable.**

# Installation of instrument

|  |  |  |
| --- | --- | --- |
| **Instrument** |  |  |
| Model: | Serial number: | Software: |

|  |  |  |
| --- | --- | --- |
| **Unpacking** | **OK** | **Comments:** |
| Verify the packaging and its sealings are intact |  |  |
| Unpack and inspect the instrument, remove any transport protections |  |  |
| Verify correct documentation and accessories |  |  |
|  |  |  |
| **Bringing to operation** | **OK** | **Comments:** |
| Verify good operating conditions |  |  |
| Install power cord and accessories |  |  |
| Turn on the switch at the back of the instrument*. The indication light should turn on and the instrument should start initializing, after completion the home screen displays* |  |  |
| Install printer paper according to the User manual |  |  |
| The instrument has been successfully installed and is functional for use |  |  |

**Other comments:**